## KIDJA
KIDJA | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | February | March | Total
Electricity Costs | 54546.15 | 56198.38 | 56472.5 | 59188.1 | 71790.89 | 76809.53 | 61330.72 | 56267.44 | 60802.81 | 60802.81 | 61420.933 | 62108.4113 | 737738.6743
Savings(30%) | 16363.845 | 16859.514 | 16941.75 | 17756.43 | 21537.267 | 23042.859 | 18399.216 | 16880.232 | 18240.843 | 18240.843 | 18426.2799 | 18632.5234 | 221321.6023
kWh/ Month | 19480.7679 | 20070.85 | 20168.75 | 21138.6071 | 25639.6036 | 27431.975 | 21903.8286 | 20095.5143 | 21715.2893 | 21715.2893 | 21936.0475 | 22181.5755 | 263478.098
kWh/ Month {Savings (30%)} | 5844.2304 | 6021.255 | 6050.625 | 6341.5821 | 7691.8811 | 8229.5925 | 6571.1486 | 6028.6543 | 6514.5868 | 6514.5868 | 6580.8142 | 6654.4726 | 79043.4294
MWh/ Month | 194.8077 | 20.0709 | 20.1687 | 21.1386 | 25.6396 | 27.432 | 21.9038 | 20.0955 | 21.7153 | 21.7153 | 21.936 | 22.1816 | 263.4781
MWh/ Month {Savings (30%)} | 5.8442 | 6.0213 | 6.0506 | 6.3416 | 7.6919 | 8.2296 | 6.5711 | 6.0287 | 6.5146 | 6.5146 | 6.5808 | 6.6545 | 79.0434
Existing Total installed Capacity from the Utility (kVA) | Required RT Solar System Capacity (kVA) i.e Inveter | Total MWh/year Required (MWh) for 30% Savings | Total MWh/year Provided by RT solar system (MWh/year) | Estimated Costs | Annual Saving of Co2 emmissions (kt) | Return on Investment (30 years life span) | Recommended PV panel capacity (kWp) | Estimated Maintence Costs per year ( 30 years span)
500 | 50 | 79.0434 | 83.57 | 930000 | 3342.8 | 4314648.0687 | 55 | 46500

## KHAYA-LA-BANTU
Khayalabantu | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Total
Electricity Costs | 26961.11 | 25688.54 | 38365.02 | 48234.63 | 23284 | 71869.94 | 39892.1 | 47163.46 | 45248.36 | 38161.98 | 40486.914 | 41839.4944 | 487195.5484
Savings(30%) | 8088.333 | 7706.562 | 11509.506 | 14470.389 | 6985.2 | 21560.982 | 11967.63 | 14149.038 | 13574.508 | 11448.594 | 12146.0742 | 12551.8483 | 146158.6645
kWh/ Month | 9628.9679 | 9174.4786 | 13701.7929 | 17226.6536 | 8315.7143 | 25667.8357 | 14247.1786 | 16844.0929 | 16160.1286 | 13629.2786 | 14459.6121 | 14942.6766 | 173998.4101
kWh/ Month {Savings (30%)} | 2888.6904 | 2752.3436 | 4110.5379 | 5167.9961 | 2494.7143 | 7700.3507 | 4274.1536 | 5053.2279 | 4848.0386 | 4088.7836 | 4337.8836 | 4482.803 | 52199.523
MWh/ Month | 96.2897 | 9.1745 | 13.7018 | 17.2267 | 8.3157 | 25.6678 | 14.2472 | 16.8441 | 16.1601 | 13.6293 | 14.4596 | 14.9427 | 173.9984
MWh/ Month {Savings (30%)} | 2.8887 | 2.7523 | 4.1105 | 5.168 | 2.4947 | 7.7004 | 4.2742 | 5.0532 | 4.848 | 4.0888 | 4.3379 | 4.4828 | 52.1995
Existing Total installed Capacity from the Utility (kVA) | Required RT Solar System Capacity (kVA) i.e Inveter | Total MWh/year Required (MWh) for 30% Savings | Total MWh/year Provided by RT solar system (MWh/year) | Estimated Costs | Annual Saving of Co2 emmissions (kt) | Return on Investment (30 years life span) | Recommended PV panel capacity (kWp) | Estimated Maintence Costs per year ( 30 years span)
No Data | 30 | 52.1995 | 55.71 | 580000 | 2228.4 | 2934759.9356 | 35 | 29000

## SKATE PARK
SKATE PARK | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Total
Electricity Costs | 31381.75 | 32653.76 | 30526.02 | 52633.52 | 136735.81 | 58633.91 | 130518.67 | 114123.49 | 94072.9 | 95534.71 | 77681.454 | 82311.4244 | 936807.4184
Savings(30%) | 9414.525 | 9796.128 | 9157.806 | 15790.056 | 41020.743 | 17590.173 | 39155.601 | 34237.047 | 28221.87 | 28660.413 | 23304.4362 | 24693.4273 | 281042.2255
kWh/ Month | 11207.7679 | 11662.0571 | 10902.15 | 18797.6857 | 48834.2179 | 20940.6821 | 46613.8107 | 40758.3893 | 33597.4643 | 34119.5393 | 27743.3764 | 29396.9373 | 334574.078
kWh/ Month {Savings (30%)} | 3362.3304 | 3498.6171 | 3270.645 | 5639.3057 | 14650.2654 | 6282.2046 | 13984.1432 | 12227.5168 | 10079.2393 | 10235.8618 | 8323.0129 | 8819.0812 | 100372.2234
MWh/ Month | 112.0777 | 11.6621 | 10.9022 | 18.7977 | 48.8342 | 20.9407 | 46.6138 | 40.7584 | 33.5975 | 34.1195 | 27.7434 | 29.3969 | 334.5741
MWh/ Month {Savings (30%)} | 3.3623 | 3.4986 | 3.2706 | 5.6393 | 14.6503 | 6.2822 | 13.9841 | 12.2275 | 10.0792 | 10.2359 | 8.323 | 8.8191 | 100.3722
Existing Total installed Capacity from the Utility (kVA) | Required RT Solar System Capacity (kVA) i.e Inveter | Total MWh/year Required (MWh) for 30% Savings | Total MWh/year Provided by RT solar system (MWh/year) | Estimated Costs | Annual Saving of Co2 emmissions (kt) | Return on Investment (30 years life span) | Recommended PV panel capacity (kWp) | Estimated Maintence Costs per year ( 30 years span)
No Data | 60 | 100.3722 | 111.116 | 1120000 | 4444.64 | 5631266.7656 | 65 | 56000

## DEDAT METLIFE TOWERS
DEDAT METLIFE TOWERS | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Total
Electricity Costs | 99735.67 | 44607.98 | 58900.32 | 64767.55 | 65050.48 | 58666.09 | 39782.4 | 91220.13 | 130625.37 | 87191.07 | 74054.706 | 71486.6096 | 886088.3756
Savings(30%) | 29920.701 | 13382.394 | 17670.096 | 19430.265 | 19515.144 | 17599.827 | 11934.72 | 27366.039 | 39187.611 | 26157.321 | 22216.4118 | 21445.9829 | 265826.5127
kWh/ Month | 35619.8821 | 15931.4214 | 21035.8286 | 23131.2679 | 23232.3143 | 20952.175 | 14208 | 32578.6179 | 46651.9179 | 31139.6679 | 26448.1093 | 25530.932 | 316460.1341
kWh/ Month {Savings (30%)} | 10685.9646 | 4779.4264 | 6310.7486 | 6939.3804 | 6969.6943 | 6285.6525 | 4262.4 | 9773.5854 | 13995.5754 | 9341.9004 | 7934.4328 | 7659.2796 | 94938.0402
MWh/ Month | 356.1988 | 15.9314 | 21.0358 | 23.1313 | 23.2323 | 20.9522 | 14.208 | 32.5786 | 46.6519 | 31.1397 | 26.4481 | 25.5309 | 316.4601
MWh/ Month {Savings (30%)} | 10.686 | 4.7794 | 6.3107 | 6.9394 | 6.9697 | 6.2857 | 4.2624 | 9.7736 | 13.9956 | 9.3419 | 7.9344 | 7.6593 | 94.938
Existing Total installed Capacity from the Utility (kVA) | Required RT Solar System Capacity (kVA) i.e Inveter | Total MWh/year Required (MWh) for 30% Savings | Total MWh/year Provided by RT solar system (MWh/year) | Estimated Costs | Annual Saving of Co2 emmissions (kt) | Return on Investment (30 years life span) | Recommended PV panel capacity (kWp) | Estimated Maintence Costs per year ( 30 years span)
No Data | 55 | 94.938 | 102.127 | 1050000 | 4085.08 | 5349795.3804 | 60 | 52500

## MSCC
MSCC | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Total
Electricity Costs | 181278.65 | 190400.84 | 133855.61 | 121385.61 | 135108.31 | 144121.06 | 151025.0133 | 145982.7406 | 138579.724 | 139367.0763 | 142363.9874 | 143573.2669 | 1767041.8885
Savings(30%) | 54383.595 | 57120.252 | 40156.683 | 36415.683 | 40532.493 | 43236.318 | 45307.504 | 43794.8222 | 41573.9172 | 41810.1229 | 42709.1962 | 43071.9801 | 530112.5665
kWh/ Month | 64742.375 | 68000.3 | 47805.575 | 43352.0036 | 48252.9679 | 51471.8071 | 53937.5048 | 52136.6931 | 49492.7586 | 49773.9558 | 50844.2812 | 51276.1668 | 631086.3887
kWh/ Month {Savings (30%)} | 19422.7125 | 20400.09 | 14341.6725 | 13005.6011 | 14475.8904 | 15441.5421 | 16181.2514 | 15641.0079 | 14847.8276 | 14932.1867 | 15253.2844 | 15382.85 | 189325.9166
MWh/ Month | 647.4238 | 68.0003 | 47.8056 | 43.352 | 48.253 | 51.4718 | 53.9375 | 52.1367 | 49.4928 | 49.774 | 50.8443 | 51.2762 | 631.0864
MWh/ Month {Savings (30%)} | 19.4227 | 20.4001 | 14.3417 | 13.0056 | 14.4759 | 15.4415 | 16.1813 | 15.641 | 14.8478 | 14.9322 | 15.2533 | 15.3829 | 189.3259
Existing Total installed Capacity from the Utility (kVA) | Required RT Solar System Capacity (kVA) i.e Inveter | Total MWh/year Required (MWh) for 30% Savings | Total MWh/year Provided by RT solar system (MWh/year) | Estimated Costs | Annual Saving of Co2 emmissions (kt) | Return on Investment (30 years life span) | Recommended PV panel capacity (kWp) | Estimated Maintence Costs per year ( 30 years span)
No Data | 105 | 189.3259 | 195.024 | 1770000 | 7800.96 | 11478376.9962 | 110 | 88500